| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | CONFOCAL RAMAN MICROSCOPE | Application Proton Exchange Membrane Fuel Cell Bipolar Plate Analyses by GD-OES and Raman Three Dimensional Raman Imaging Raman Spectroscopy Applied to the Lithium-ion Battery Analysis Raman Microscopy Applied to Polymer Characterization Direct identification of clinically relevant microorganisms Raman Analysis of Single Bacteria Cells etc. Features High spatial and spectral resolutions Ease of use and ergonomy Ultra-fast confocal imaging Raman-AFM and TERS compatible Ultra-Low Frequency Module Automated particle location and chemical ID Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |