| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | INVERTED RAMAN MICROSCOPE | Application Assessing Biotherapeutics Stability using Raman Spectroscopy Technical specification Confocal Imaging: 0.5 μm XY Routine operation: Methods and scripts Automation Full Microscope: Inverted Resolution: Standard + High Multi-laser : 532, 638, 785 nm Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |