| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | FT-RAMAN MICROSCOPE | Features Minimized fluorescence Excellent wavelength precision Easily variable resolution Large spectral range Technical specification - 1064 nm NIR excitation laser - N2-cooled Germanium detector - Up to 4 lasers (e.g. 532 nm) available (hybrid system) - High-resolution video camera - Fully automated hardware Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |