| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | Differential Scanning Calorimeter | Applications example: Fructose, Glucose and Saccharose Thermoplasts OIT “Oxidative Induction Time”/ Temperature Auto-ignition of cotton fibers Technical specification Temperature range:-180°C … 600°C Heating rates:0.01 K/min … 100 K/min Cooling rates: 0.01 K/min … 100 K/min Sensor: heat flux Sample Robot:42 Positions PC Interface:USB Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |