| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | X-RAY DIFFRACTION (XRD) | Application Available for the cement, minerals, pharmaceutical, Aluminum, and metals industries. Technical specification Generator: 3 kW, 1 kW ECO Sample handling: Magazines with 66 samples 51.5 mm (2‘’) diameter or 72 samples with 40 mm (1.6’’) diameter EasyLoad trays for 20 samples of 2’’ diameter Robotic or conveyor belt loading Beam optics Dynamic Beam Optimization Motorized Anti-Scatter Screen Push button operation Loader software and touch control Detectors Element channel for Al production control Si-strip detector with 160 channels Ultra fast 1D detector (*) Ultra sensitive, energy dispersive 1D detector (*) absolutely faultless, no dead strips Goniometer Theta/Theta- Sample always horizontal and cannot fall off during measurement Unique alignment guarantee of +/- 0.01° 2Theta over entire measurement range, traceable with included certified reference material NIST corundum Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |