| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | X-RAY DIFFRACTION (XRD) | Application Used in Cement, Material Properties, Minerals & Mining, Oil & Gas Technical specification Goniometer Theta / Theta-Sample is always horizontal and cannot fall off during measurement Angular accuracy: Exact peak positions better 0.02°2Theta over entire measurement range, Traceable by included corundum reference Sample stages: Single or 6-position, rotating Setup: Plug’n Analyze- No Installation, no alignment, no instrument configuration 110 -220 V, 50 - 60 Hz -All domestic wall sockets supported Integrated PC / monitor- Little space requirements Internal cooling-No water supply needed Weight: 95 kg, 210 lbs Size: (H W D )61x60x70 cm (42.02″x23.62″x27.56″) Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |