| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | PRECISION BALANCES | Applications Weighing, Parts Counting, Percent Weighing, Check weighing, Animal/Dynamic Weighing, Filling, Totalization/Statistics, Formulation, Differential Weighing, Density Determination, Peak Hold, Ingredient Costing, Pipette Adjustment, SQC, Statistics Features A detachable terminal with a large color touchscreen, programmable IR sensors, and a frameless draft shield Extremely accurate and durable, and are ideal for laboratory and industrial environments. Technical specification Maximum Capacity: 220 g Readability: 1 mg Display: 5.7" (145 mm) Full-color VGA graphic touchscreen display with user-controlled brightness Operation: AC adapter (included) Communication: RS232 and USB (included) or second RS232/Ethernet (accessories sold separately) . GLP/GMP data output with real-time clock. Construction: Metal base, ABS top housing, stainless steel pan, glass draftshield with top mounted side doors & flip/sliding top door (1mg models), illuminated up-front level indicator, weigh below hook, security bracket, calibration lock, 4 touchless sensors, in-use cover Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | pcs | 1 |