| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | PRECISION BALANCES | Applications Weighing, Parts Counting, Percent Weighing, Check weighing, Animal/Dynamic Weighing, Totalization/Statistics, Formulation, Density Determination, Display Hold Features Durable construction, large weighing surfaces, a space-saving draft shield design, and full housing in-use cover allow for use in lab, education and industrial environments. Technical specification Maximum Capacity: 220 g Readability: 1 mg Display: 4.3" (109 mm) Full-color VGA graphic touchscreen with user-controlled brightness Operation: AC adapter (included) Communication: RS232, USB Host, USB Device (included). GLP/GMP data output with real-time clock. Construction: Metal base, ABS top housing, stainless steel pan, glass draft shield with 2-piece top mounted side doors & sliding top door (1mg models only), illuminated up-front level indicator, weigh below hook, security bracket, calibration lock, full housing in-use cover Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |