| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | TUNABLE BROADBAND LIGHT SOURCES | Features - Optimized optical design and coupling to achieve maximum light throughput - Continuous and computer-controlled adjustment of the optical bandwidth - Pre-aligned illumination capable of outputting monochromatic light over a broad wavelength range - Perfect for system integration Technical specification Lamp type: 250 W Tungsten Halogen Reflector: f/4 Broadband optical power at focal point: 2 W Nominal image size: 11.7 mm H x 5.5 mm W (cylindrical helix) Color temp. at rated power:3400k Focal distance: 3.62 inches, 92 mm, from front of housing Housing dimensions: 8.44 x 6 x 5.19 inches, 214 x 152 x 132 mm (L x W x H) Weight: 12 pounds, 5.45 kg Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |