| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | IN-LINE SENSOR & AUTO RANGE SWITCHING CONCENTRATION MONITOR | Features - Wide range measurement, from low concentration to undiluted liquid. Measurement range: 0 - 50%. - High precision measurement by the auto-correction range switching function. - All PFA sensors, ideal for semiconductor processing - 24 V DC power supply Technical specification Measurement range: HF: 0 - 50%, HCl: 0 - 10%, Conductivity: 0 - 2000 mS/cm Repeatability: +/- 0.5% F.S. (in equivalent input) Linearity: +/- 0.5% F.S. (in equivalent input) Transmission output: Number of output: 4 Contact output Outputs: 5 points Contact input: Inputs: 2 points Communication output RS-485 Power supply: DC 24 V +/- 10% 15W Wetted material of sensor: PFA Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |