| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | KOH MONITOR | Features - Wide range measurement Concentration: 0 - 20%, Conductivity: 0 - 1000 mS/cm - High precision - PFA Sensor Technical specification Target of measurement KOH Measurement range: Concentration: 0 - 20%, Conductivity: 0 - 1000mS/cm Repeatability: Within +/- 0.5%R.D. or within 0.005wt% whichever is higher (Temperature variation less than +/- 0.5℃, using equivalent input for conductivity) Linearity: Within +/- 0.5%R.D. or within 0.005wt% whichever is higher (Temperature variation less than +/- 0.5℃, using equivalent input for conductivity) Transmission output: Number of output: 4 Contact output Outputs: 5 points Communication output RS-485 Power supply: 24V DC +/- 10% 10W Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |