| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | DIMENSIONAL METROLOGY SYSTEM | Description Dimensional accuracy & surface finish measurement Features - Accurate, fast and universal optical 3D measuring instrument for tolerances in the µm and sub-µm range. - Components are measured area-based and with high resolution independent of size, material, geometry, weight and surface finish. - 5-axes-metrology: allows measurements of geometries that are otherwise difficult or impossible to access. - The integrated SmartFlash technology ensures high-resolution measurement of smooth, reflective and highly polished surfaces. Real3D turns individual measurements into a complete 360° data set - Vertical Focus Probing: enables the optical, lateral probing of components. Technical specification Measurement principle: non-contact, optical, three-dimensional Technologies: Advanced Focus-Variation (SmartFlash 2.0), Vertical Focus Probing, Real 3D Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |