| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | MOISTURE ANALYZERS | Description Simple Operation. Precise Results. Applications Percent Moisture Determination, Percent Moisture Regain Determination, Percent Solid Determination, Weighing Features Halogen heating increases efficiency for faster results Intuitive touchscreen menu offers step-by-step guidance for any application Tool-free cleaning for easy maintenance. Technical specification Maximum Capacity: 90 g Readability Moisture Content: 1 mg/0.01% Pan Size: 90 mm Display: 4.3" TFT color touchscreen display Operation: Power cord (included) Communication: RS232 with GLP/GMP data output, USB Host and USB Device (included) Construction: Metal base, ABS top housing, halogen heat source, stainless steel pan support, stainless steel pan handler, in-use cover Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |