| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | MOISTURE ANALYZERS | Description Outstanding Performance, Flexible Configuration and Reliable Results Application Percent Moisture Determination, Percent Solid Determination, Weighing Features Glass-less infrared heating increases efficiency for faster results. User-friendly touch-button design for easy operation. Compact design suits any workspace Technical specification Maximum Capacity: 110 g Readability Moisture Content: 10 mg/0.1% Pan Size: 3.5 in (90 mm) Display: Backlit liquid crystal display (LCD) Operation: Power cord (included) Communication: RS232 (included) Construction: Infrared heat source, ABS housing, metal pan support, metal pan handler, in-use cover Design Features: 3 shut off criteria (manual, timed or auto), 1 standard heating profile, 50° to 160° C heating range (5° C increments) Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |