| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | BENCHTOP EC METER | Description Simple-to-Use Benchtop Meter Designed to Easily Measure Conductivity, TDS and Salinity Applications Conductivity, Total Dissolved Solids (TDS), Salinity with Temperature Measurements Features - Easy and straightforward meter for measurement. - A large 5-inch backlit LCD display with complete measurement information simplifies operation and allows you to monitor the results from a distance. Technical specification Measurement Range: 00.0 μS/cm – 199.9 mS/cm Measurement Resolution: 0.01 μS/cm Temperature compensation: Yes Display: 5 inch segment LCD with backlight Operation: AC adapter (included) Construction: ABS housing, mechanical keys, standalone electrode holder Design Features: 99 measurement memory, automatic and manual endpoint functions, automatic and manual temperature compensation Documentation - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | pcs | 1 |