| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | Portable conductivity meter | Description Convenient Portable Conductivity Meter Applications Conductivity, total dissolved solids (TDS) measurement Features - Easy-to-use and accurate with a simple calibration process, automatic temperature compensation and fast results. - Four-pole linear electrode with temperature sensor safeguards the unit from polarization and pollution effects to ensure accurate readings. - The 30-measurement library stores data for future reference and allows the user to easily recall the last calibration data with one quick touch. Technical specification Measurement Range: 00.0 μS/cm – 199.9 mS/cm;0 – 100°C;0.1 mg/L – 199.9 g/L (TDS) Measurement Resolution: 0.1 °C;0.01 μS/cm;0.1 mg/L Display: Liquid crystal display (LCD) Operation: 4 AAA batteries (included) Construction: ABS housing, wrist strap Design Features: Automatic temperature compensation, adjustable temperature coefficient Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | pcs | 1 |