| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | Benchtop PH meter | Description Simple to Use Benchtop Meter for Easily Measuring pH and ORP Application pH, oxidation-reduction potential (ORP) with Temperature Measurements Features - Large bright LCD display with complete measurement information simplifies operation and allows you to monitor the results from a distance. - Featuring a compact stand-alone electrode holder - easy and straightforward meter for pH measurement. Technical specification Measurement Range 0 – 100°C;0.00 – 14.00 pH;-1999 – 1999 mV Measurement Resolution 0.1 °C;0.01 pH;1 mV Accuracy ±0.5 °C;±1 mV;±0.01 pH Display: 5 inch segment LCD with backlight Operation: AC adapter (included) Construction: ABS housing, mechanical keys, built-in electrode holder Design Features: Auto buffer recognition, two point calibration, electrode condition icon Documentation - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |