| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | CREATINE REFRACTOMETER | Technical specification Scale: Creatine (g/100g) Temperature Range: Creatine : 0.0 to 10.0% Temperature : 10.0 to 40.0ﾟC Resolution: Creatine : 0.1% Temperature : 0.1ﾟC Accuracy: Creatine : ±0.2% Temperature : ±1ﾟC Ambient Temperature: 10 to 40ﾟC Sample Volume 2 to 3 drops Measurement Time: About 3 seconds Power Supply: 2 × AAA Batteries Battery Life: About 11,000 measurements Dimensions & Weight: 5.5 × 3.1 × 10.9cm 100g (main unit only) Included Articles Accessories · STRAP · Battery Case Cover With O-Ring · USB Battery Charger Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |