| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | SOIL MOISTURE METER | Description Dual scales of Gravimetric soil moisture and Volumetric soil moisture. Save on time, labor, and material Technical specification Range Gravimetric soil moisture : 0 to 200% Volumetric soil moisture : 0 to 100% Accuracy Gravimetric soil moisture: ±2% (0 to 40%) ±5% (41 to 100%) Volumetric soil moisture: ±1% (0 to 60%) ±2%(61 to 100%) Sample Volume 2 to 3 drops Measurement Time: About 3 seconds Power Supply: 2 × AAA Batteries Battery Life: About 11,000 measurements Dimensions & Weight: 5.5 × 3.1 × 10.9cm 100g (main unit only) Included Articles Accessories · STRAP · Digital scale · Battery Case Cover With O-Ring · USB Battery Charger Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |