| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | DEXTRAN REFRACTOMETER | Description suitable to measure the concentration of Dextran/water solution. Technical specification Scale: Dextran (g/100g) Range: 0.0 to 15.0% (g/100g) Accuracy: ±0.2% Sample Volume: 2 to 3 drops Measurement Time: About 3 seconds Power Supply: 2 × AAA Batteries Battery Life: About 11,000 measurements Dimensions & Weight: 5.5 × 3.1 × 10.9cm 100g (main unit only) Included Articles Accessories · STRAP · Battery Case Cover With O-Ring · USB Battery Charger · 10% Sucrose (±0.03%) Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | pcs | 1 |