| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | ELECTRON MICROSCOPE ANALYZERS(ENERGY DISPERSIVE SPECTROMETRY) | Description The Right Angle for Better Analysis Fast, Precise, Reliable. Features - Gain very precise results faster with individually optimized EDS systems. It ensures unmatched speed and precision. - Shorten measurement time with maximized throughput, enabling mapping and quantification at all settings with no limitation of data size. - Analyze challenging samples now, thanks to the most efficient geometric collection of generated X-rays. - Benefit from accurate and reliable quantification results with optimized geometry minimizing background and avoiding absorption. - Detect small quantities with better detection limit, lower background and less absorption. Application - Live mapping of solder region - Eds element distribution in welding Seam - Elemental mapping of wafer etching residues Fields of Application of Elemental Analysis on SEM Materials Science Nanomaterials Mineralogy Documentation - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |