| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | ELECTRON MICROSCOPE ANALYZERS | Description Reliable and Affordable EBSD Also Available on Tabletop SEM Features - Much lower initial investment cost - Very low downtime: on-site detector replacement within days - Affordable service contract options - Easy to use EBSD: no calibration required & user replaceable screen - Safe operation: when not in use there is 0% chance for accidental collision with SEM stage or other instruments inside SEM chamber Application High spatial resolution EBSD mapping an XS on a FE-SEM Characterization of Microstructural Features in Stainless Steels Correlation of Grain Statistics with various Properties on Industrial Alloys Phase Identification and Distribution Analysis Documentation - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |