| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | MULTI-LASER NANOPARTICLE TRACKING ANALYSIS (NTA) | Application Particle Analysis in Vaccine Manufacturing and Development Achieving Infectious Titer with Multi-laser Nanoparticle Tracking Analysis (NTA) Optimization of an Emulsion Polymerization Process and Product Through Nanoparticle Concentration Analysis Nanobubble Size and Concentration Analysis with Multi-laser NTA Features Size Measurement Range: 10 nm to 15 microns depending on sample Concentration Measurement Range: 5 x 106 to 2 x 108 particles/mL No cross-contamination Technical specification Measurement Range: 10 nm to 15 μm Typical Sample Volume: 350 µL to 1.25 mL Typical Sample Concentration (Sample dependent): 5 x 106 to 2x108 particles/mL Sample Temperature Range(Controlled): 10° C to 50° C +/- 0.1° C Dimensions: 55 cm W x 66 cm D x 35 cm H Weight: 27 kg Operational Environment: 15° C to 30° C with < 85% RH Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |