| Item No | Item Name | Technical Specifications | Unit of Measurement | Item No. |
| --- | --- | --- | --- | --- |
| 1 | TRIPLE QUAD MASS SPECTROMETRY | Description - Advanced electronics deliver high speed performance. - Active focusing produces a robust and highly sensitive system. - Elliptical ion-path design results in virtually zero neutral or chemical noise. - High capacity turbo-pump standard provides unrivaled performance. Application Used for Food Analysis and Testing, Forensic Toxicology, Environmental Analysis and Targeted Metabolomics Features - Workflow design - Simple, intuitive, powerful - Client-server based software – integrating instruments for high throughput and ease of use - Libraries - User-created or commercial library support - MRM Method Builder - Designed by chromatographers Included Articles Fully integrated with TASQ® software Target analysis screening quantitation (TASQ®) software provides a turnkey data analysis solution for the requirement to screen, confirm and quantify hundreds of compounds in a single analysis. Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | pcs | 1 |