| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | SMALL ANGLE X-RAY SCATTERING (SAXS) | Description Dedicated Small Angle X-ray Scattering (SAXS) with compact footprint for high-end research and multi-user facilities Application Small-Angle X-Ray Scattering (SAXS) Grazing-Incidence SAXS (GI-SAXS) Wide-Angle X-Ray Scattering (WAXS) Features Patented vertical beampath IµS micro-focus source 2D detector Technical specification Exterior dimensions (h x w x d): 202 x 75 x 160 cm, 79.5 x 29.5 x 63.0 inches IµS micro-focus source: Air-cooled, high intensity, micro-focus X-Ray source SCATEX pinholes: Ideal circular beam shape with negligible parasitic background scatter. Sample Chamber: Large sample chamber, with motorized XY-stage for sample positioning, mapping and accommodation of versatile standard stages Detector: Large active area, low background, high sensitivity 2D detector Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |