| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | 3D X-RAY MICROSCOPY (XRM) | Application Additive Manufacturing Geology Medical Devices and Pharmaceutical Packaging Technical specification X-ray source: 20 – 100 kV, 10 W, < 5 µm spot size at 4 W X-ray detector: Active pixel CMOS flat-panel, 3 MP (1944 x 1536), 75 µm pixel size Object size: 96 mm diameter, 120 mm height Dimensions: W 1040 mm x D 665 mm x H 400 mm Weight 170 kg Power supply: 100-240V AC, 50-60Hz, 3A max. Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |