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	Unit of 
Measurement
	Quantity

	1
	3D X-RAY MICROSCOPY (XRM)
	Application
Fibers and Composites
Pharmaceuticals
Foams
Technical specification
X-ray source: 40 – 100 kV, 10 W, < 5 µm spot size at 4 W
X-ray detector: 16 MP sCMOS detector (4096 x 4096 pixels)
Object size: 75 mm diameter, 80 mm height
Dimensions: W 1160 mm x D 520 mm x H 330 mm
Weight 150 kg
Power supply: 100-240V AC, 50-60Hz, 3A max.
Documentation:
· CE marking and declaration conformity
· Documents for the Installation and Operational Qualification (IQ / OQ)
· Functional Specification - Design Qualification (DQ) and others relevant document
	pcs
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