| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | RESEARCH FT-IR AND QCL MICROSCOPE | Application - Life science ¦ cell imaging - Pharmaceuticals - Emissivity studies (e.g. LEDs) - Failure and Root Cause Analysis - Forensics - Microplastics - Industrial R&D - Polymers & Plastics - Surface characterization - Semiconductor Features: - Selection of detectors for µ-FT-IR: Broad-, mid, narrow-band LN2-MCTs, thermoelectrically cooled (TE) MCT. - Focal-plane array detector for infrared imaging (64 x 64 or 128 x 128 pixel). - Optional QCL implementation by Laser Infrared Imaging Module (ILIM, laser class 1) - Objective lens selection: 3.5x/15x/36x IR, 20x ATR, 15x GIR, 4x/40x VIS. - Spectral range extension – from Near-Infrared (NIR) to Far-Infrared (FIR) Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |