| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | ATOMIC FORCE MICROSCOPE | Features - Head in 2 versions available UV transparency version for top view sample illumination with UV-light Fiber port version for fiber SNOM applications - Highest stability and lowest drift for long term experiments - 980nm laser source for cantilever deflection detection prevents cross talk with other wavelengths - Special filter sets for blocking and cleaning inside - Also versions for 2-photon microscopy available - Seamless integration with inverted microscopes, Raman spectrometers, photon counting systems - Coverslip-based sample holders for air, inert gases, liquid and with electrical sample connection Technical specification Standard Operating Modes Imaging modes - Easy-to-use and intuitive QI™ mode with precise force control - Contact mode with lateral force microscopy (LFM) - AC modes with phase detection Force measurements - Static and dynamic spectroscopy - Advanced force mapping Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |